Utility and Infrastructure Review Guide

Three-language reference resource

| Languages: SR / EN / RU | Category: Infrastructure & Utilities, Guides, Pre-Construction |
| --- | --- |

SR

Vodič za proveru komunalnih i infrastrukturnih uslova. Namenjen je ranoj fazi planiranja, kada priključci i ograničenja još mogu da utiču na raspored, budžet i faznost projekta.

Šta pregled obično obuhvata

struju i uslove priključenja

vodu i kanalizaciju

postojeće vodove i koridore

pristup i servisne zahteve

uticaj priključaka na raspored i budžet

Zašto ovo često kasni

Priključci se često tretiraju kao kasniji administrativni korak, iako već rano mogu da promene projektne odluke.

EN

A practical guide for reviewing utility and infrastructure conditions in the early project phase, when connections and constraints can still affect layout, budget, and sequencing.

Typical review scope

electricity and connection conditions

water and sewer conditions

existing utility lines and corridors

access and servicing needs

layout and budget impact of utility requirements

Why this is often delayed

Connections are frequently treated as a late administrative step even though they can influence key decisions much earlier.

RU

Практическое руководство по проверке инженерных и инфраструктурных условий на раннем этапе проекта, когда подключения и ограничения еще могут повлиять на планировку, бюджет и этапность.

Что обычно входит в проверку

электроснабжение и условия подключения

вода и канализация

существующие сети и коридоры

доступ и сервисные требования

влияние инженерных условий на планировку и бюджет

Почему это часто откладывают

Подключения часто считают поздним административным этапом, хотя они способны гораздо раньше повлиять на ключевые решения.